TREATMENT SETTINGS - SOPRANO

DO NOT BURN PATIENTS - Burn prevention protocol supersedes everything

DO NOT Lower Settings – compromises results

DO NOT use excess gel – increases risk of arching

LHR  SOPRANO Traditional Mode

| Skin Type | Pulse Type | Tx #1 | Tx #2 | Tx #3 | Rep Rate |
| --- | --- | --- | --- | --- | --- |
| I-II | I | 42 | 46 | 50 | 3 |
| III | II | 38 | 42 | 46 | 2 |
| IV | III | 32 | 36 | 40 | 2 |
| V | IV | 22 | 26 | 30 | 1 |
| VI | V | 16 | 22 | 26 | 1 |